## Лист1
Артикул | Назва юа | Назва ру | назва ен | Назва мод юа | назва ен | Назва мод ру | Цена | Валюта | Отображать | Наличие | Фото | Бренд
SOL-KSTAR-40-80 | Інвертор Kstar KAC40DP2 40 кВт 3-фазний + акумуляторна батарея 80 кВт·год LFP EVE 314Ah All-in-One | Инвертор Kstar KAC40DP2 40 кВт 3-фазный + аккумуляторная батарея 80 кВт·год LFP EVE 314Ah All-in-One | Inverter Kstar KAC40DP2 40 kW 3-phase + battery 80 kW year LFP EVE 314Ah All-in-One | Інвертор Kstar KAC40DP2 40 кВт 3-фазний + акумуляторна батарея 80 кВт·год LFP EVE 314Ah All-in-One | Inverter Kstar KAC40DP2 40 kW 3-phase + battery 80 kW year LFP EVE 314Ah All-in-One | Инвертор Kstar KAC40DP2 40 кВт 3-фазный + аккумуляторная батарея 80 кВт·год LFP EVE 314Ah All-in-One | 26974.69 | EUR | Да | Да | https://energyua.com.ua/content/images/13/1000x1000l80mc0/33439185179273.webp; https://energyua.com.ua/content/images/13/1096x1480l80mc0/83298474234286.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/63195351056209.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/78634813373898.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/44273354856383.webp; https://www.a-profi.com.ua/wp-content/uploads/2025/12/photo_2025-12-04_18-20-06.webp | KStar
SOL-KSTAR-50-100 | Інвертор Kstar KAC50DP2 50 кВт 3-фазний + акумуляторна батарея 100 кВт·год LFP EVE 314Ah All-in-One | Инвертор Kstar KAC50DP2 50 кВт 3-фазный + аккумуляторная батарея 100 кВт·год LFP EVE 314Ah All-in-One | Inverter Kstar KAC50DP2 50 kW 3-phase + battery 100 kW year LFP EVE 314Ah All-in-One | Інвертор Kstar KAC50DP2 50 кВт 3-фазний + акумуляторна батарея 100 кВт·год LFP EVE 314Ah All-in-One | Inverter Kstar KAC50DP2 50 kW 3-phase + battery 100 kW year LFP EVE 314Ah All-in-One | Инвертор Kstar KAC50DP2 50 кВт 3-фазный + аккумуляторная батарея 100 кВт·год LFP EVE 314Ah All-in-One | 30401.31 | EUR | Да | Да | https://energyua.com.ua/content/images/13/1000x1000l80mc0/33439185179273.webp; https://energyua.com.ua/content/images/13/1096x1480l80mc0/83298474234286.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/63195351056209.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/78634813373898.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/44273354856383.webp | KStar
SOL-KSTAR-50-120 | Інвертор Kstar KAC50DP2 50 кВт 3-фазний + акумуляторна батарея 120 кВт·год LFP EVE 314Ah All-in-One | Инвертор Kstar KAC50DP2 50 кВт 3-фазный + аккумуляторная батарея 120 кВт·год LFP EVE 314Ah All-in-One | Inverter Kstar KAC50DP2 50 kW 3-phase + battery 120 kW year LFP EVE 314Ah All-in-One | Інвертор Kstar KAC50DP2 50 кВт 3-фазний + акумуляторна батарея 120 кВт·год LFP EVE 314Ah All-in-One | Inverter Kstar KAC50DP2 50 kW 3-phase + battery 120 kW year LFP EVE 314Ah All-in-One | Инвертор Kstar KAC50DP2 50 кВт 3-фазный + аккумуляторная батарея 120 кВт·год LFP EVE 314Ah All-in-One | 33031.05 | EUR | Да | Да | https://energyua.com.ua/content/images/13/1000x1000l80mc0/33439185179273.webp; https://energyua.com.ua/content/images/13/1096x1480l80mc0/83298474234286.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/63195351056209.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/78634813373898.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/44273354856383.webp | KStar
SOL-KSTAR-125-200 | Інвертор Kstar KAC125DP2 125 кВт 3-фазний + акумуляторна батарея 200 кВт·год LFP EVE 314Ah All-in-One | Инвертор Kstar KAC125DP2 125 кВт 3-фазный + аккумуляторная батарея 200 кВт·год LFP EVE 314Ah All-in-One | Inverter Kstar KAC125DP2 125 kW 3-phase + battery 200 kW year LFP EVE 314Ah All-in-One | Інвертор Kstar KAC125DP2 125 кВт 3-фазний + акумуляторна батарея 200 кВт·год LFP EVE 314Ah All-in-One | Inverter Kstar KAC125DP2 125 kW 3-phase + battery 200 kW year LFP EVE 314Ah All-in-One | Инвертор Kstar KAC125DP2 125 кВт 3-фазный + аккумуляторная батарея 200 кВт·год LFP EVE 314Ah All-in-One | 34624.82 | EUR | Да | Да | https://energyua.com.ua/content/images/13/1000x1000l80mc0/33439185179273.webp; https://energyua.com.ua/content/images/13/1096x1480l80mc0/83298474234286.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/63195351056209.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/78634813373898.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/44273354856383.webp; https://www.a-profi.com.ua/wp-content/uploads/2025/12/photo_2025-12-04_18-20-06.webp | KStar
SOL-KSTAR-125-220 | Інвертор Kstar KAC125DP2 125 кВт 3-фазний + акумуляторна батарея 220 кВт·год LFP EVE 314Ah All-in-One | Инвертор Кстар KAC125DP2 125 кВт 3-фазный + аккумуляторная батарея 220 кВт·год LFP EVE 314 Ач All-in-One | Inverter Kstar KAC125DP2 125 kW 3-phase + battery 220 kW year LFP EVE 314Ah All-in-One | Інвертор Kstar KAC125DP2 125 кВт 3-фазний + акумуляторна батарея 220 кВт·год LFP EVE 314Ah All-in-One | Inverter Kstar KAC125DP2 125 kW 3-phase + battery 220 kW year LFP EVE 314Ah All-in-One | Инвертор Кстар KAC125DP2 125 кВт 3-фазный + аккумуляторная батарея 220 кВт·год LFP EVE 314 Ач All-in-One | 51949.19 | EUR | Да | Да | https://energyua.com.ua/content/images/13/1000x1000l80mc0/33439185179273.webp; https://energyua.com.ua/content/images/13/1096x1480l80mc0/83298474234286.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/63195351056209.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/78634813373898.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/44273354856383.webp | KStar
SOL-KSTAR-125-240 | Інвертор Kstar KAC125DP2 125 кВт 3-фазний + акумуляторна батарея 240 кВт·год LFP EVE 314Ah All-in-One | Инвертор Kstar KAC125DP2 125 кВт 3-фазный + аккумуляторная батарея 240 кВт·год LFP EVE 314Ah All-in-One | Inverter Kstar KAC125DP2 125 kW 3-phase + battery 240 kW year LFP EVE 314Ah All-in-One | Інвертор Kstar KAC125DP2 125 кВт 3-фазний + акумуляторна батарея 240 кВт·год LFP EVE 314Ah All-in-One | Inverter Kstar KAC125DP2 125 kW 3-phase + battery 240 kW year LFP EVE 314Ah All-in-One | Инвертор Kstar KAC125DP2 125 кВт 3-фазный + аккумуляторная батарея 240 кВт·год LFP EVE 314Ah All-in-One | 54865.8 | EUR | Да | Да | https://energyua.com.ua/content/images/13/1000x1000l80mc0/33439185179273.webp; https://energyua.com.ua/content/images/13/1096x1480l80mc0/83298474234286.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/63195351056209.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/78634813373898.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/44273354856383.webp | KStar
SOL-KSTAR-125-260 | Інвертор Kstar KAC125DP2 125 кВт 3-фазний + акумуляторна батарея 260 кВт·год LFP EVE 314Ah All-in-One | Инвертор Kstar KAC125DP2 125 кВт 3-фазный + аккумуляторная батарея 260 кВт·год LFP EVE 314Ah All-in-One | Inverter Kstar KAC125DP2 125 kW 3-phase + battery 260 kW year LFP EVE 314Ah All-in-One | Інвертор Kstar KAC125DP2 125 кВт 3-фазний + акумуляторна батарея 260 кВт·год LFP EVE 314Ah All-in-One | Inverter Kstar KAC125DP2 125 kW 3-phase + battery 260 kW year LFP EVE 314Ah All-in-One | Инвертор Kstar KAC125DP2 125 кВт 3-фазный + аккумуляторная батарея 260 кВт·год LFP EVE 314Ah All-in-One | 57814.29 | EUR | Да | Да | https://energyua.com.ua/content/images/13/1000x1000l80mc0/33439185179273.webp; https://energyua.com.ua/content/images/13/1096x1480l80mc0/83298474234286.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/63195351056209.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/78634813373898.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/44273354856383.webp; https://www.a-profi.com.ua/wp-content/uploads/2025/12/photo_2025-12-04_18-20-06.webp | KStar
SOL-KSTAR-125-260liquid | Інвертор Kstar KAC125DP2 125 кВт 3-фазний + акумуляторна батарея 260 кВт·год LFP EVE 314Ah рідинне охолодження All-in-One | Инвертор Kstar KAC125DP2 125 кВт 3-фазный + аккумуляторная батарея 260 кВт·год LFP EVE 314Ah рідинне холодження All-in-One | Inverter Kstar KAC125DP2 125 kW 3-phase + battery 260 kW year LFP EVE 314Ah real cooling All-in-One | Інвертор Kstar KAC125DP2 125 кВт 3-фазний + акумуляторна батарея 260 кВт·год LFP EVE 314Ah рідинне охолодження All-in-One | Inverter Kstar KAC125DP2 125 kW 3-phase + battery 260 kW year LFP EVE 314Ah real cooling All-in-One | Инвертор Kstar KAC125DP2 125 кВт 3-фазный + аккумуляторная батарея 260 кВт·год LFP EVE 314Ah рідинне холодження All-in-One | 59567.45 | EUR | Да | Да | https://energyua.com.ua/content/images/13/1000x1000l80mc0/33439185179273.webp; https://energyua.com.ua/content/images/13/1096x1480l80mc0/83298474234286.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/63195351056209.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/78634813373898.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/44273354856383.webp | KStar
SOL-KSTAR-125-260room | Інвертор Kstar KAC125DP2 125 кВт 3-фазний + акумуляторна батарея 260 кВт·год LFP EVE 314Ah IP21 для приміщень All-in-One | Инвертор Кстар KAC125DP2 125 кВт 3-фазный + аккумуляторная батарея 260 кВт·год LFP EVE 314 Ач IP21 для приміщень All-in-One | Inverter Kstar KAC125DP2 125 kW 3-phase + battery 260 kW year LFP EVE 314Ah IP21 for All-in-One | Інвертор Kstar KAC125DP2 125 кВт 3-фазний + акумуляторна батарея 260 кВт·год LFP EVE 314Ah IP21 для приміщень All-in-One | Inverter Kstar KAC125DP2 125 kW 3-phase + battery 260 kW year LFP EVE 314Ah IP21 for All-in-One | Инвертор Кстар KAC125DP2 125 кВт 3-фазный + аккумуляторная батарея 260 кВт·год LFP EVE 314 Ач IP21 для приміщень All-in-One | 46758.26 | EUR | Да | Да | https://energyua.com.ua/content/images/13/1000x1000l80mc0/33439185179273.webp; https://energyua.com.ua/content/images/13/1096x1480l80mc0/83298474234286.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/63195351056209.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/78634813373898.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/44273354856383.webp | KStar
SOL-KSTAR-50-107 | Інвертор Kstar KAC50DP2 50 кВт 3-фазний + акумуляторна батарея 107 кВт·год LFP CATL 280Ah All-in-One | Инвертор Kstar KAC50DP2 50 кВт 3-фазный + аккумуляторная батарея 107 кВт·год LFP CATL 280 Ач All-in-One | Inverter Kstar KAC50DP2 50 kW 3-phase + battery 107 kW year LFP CATL 280Ah All-in-One | Інвертор Kstar KAC50DP2 50 кВт 3-фазний + акумуляторна батарея 107 кВт·год LFP CATL 280Ah All-in-One | Inverter Kstar KAC50DP2 50 kW 3-phase + battery 107 kW year LFP CATL 280Ah All-in-One | Инвертор Kstar KAC50DP2 50 кВт 3-фазный + аккумуляторная батарея 107 кВт·год LFP CATL 280 Ач All-in-One | 5155.87 | EUR | Да | Да | https://energyua.com.ua/content/images/13/1000x1000l80mc0/33439185179273.webp; https://energyua.com.ua/content/images/13/1096x1480l80mc0/83298474234286.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/63195351056209.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/78634813373898.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/44273354856383.webp; https://www.a-profi.com.ua/wp-content/uploads/2025/12/photo_2025-12-04_18-20-06.webp | KStar
SOL-KSTAR-100-197GEN1 | Інвертор Kstar KAC50DP 100 кВт 3-фазний (2×50кВт) + акумуляторна батарея 197 кВт·год LFP CATL 280Ah All-in-One Gen1 | Инвертор Kstar KAC50DP 100 кВт 3-фазний (2×50кВт) + аккумуляторная батарея 197 кВт·год LFP CATL 280Ач All-in-One Gen1 | Inverter Kstar KAC50DP 100 kW 3-phase (2×50 kW) + battery 197 kW year LFP CATL 280Ah All-in-One Gen1 | Інвертор Kstar KAC50DP 100 кВт 3-фазний (2×50кВт) + акумуляторна батарея 197 кВт·год LFP CATL 280Ah All-in-One Gen1 | Inverter Kstar KAC50DP 100 kW 3-phase (2×50 kW) + battery 197 kW year LFP CATL 280Ah All-in-One Gen1 | Инвертор Kstar KAC50DP 100 кВт 3-фазний (2×50кВт) + аккумуляторная батарея 197 кВт·год LFP CATL 280Ач All-in-One Gen1 | 52032.07 | EUR | Да | Да | https://energyua.com.ua/content/images/13/1000x1000l80mc0/33439185179273.webp; https://energyua.com.ua/content/images/13/1096x1480l80mc0/83298474234286.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/63195351056209.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/78634813373898.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/44273354856383.webp | KStar
SOL-KSTAR-100-197GEN2 | Інвертор Kstar KAC50DP2 100 кВт 3-фазний (2×50кВт) + акумуляторна батарея 197 кВт·год LFP CATL 280Ah All-in-One Gen2 | Инвертор Kstar KAC50DP2 100 кВт 3-фазний (2×50кВт) + аккумуляторная батарея 197 кВт·год LFP CATL 280Ач All-in-One Ген2 | Inverter Kstar KAC50DP2 100 kW 3-phase (2×50 kW) + battery 197 kW year LFP CATL 280Ah All-in-One Gen2 | Інвертор Kstar KAC50DP2 100 кВт 3-фазний (2×50кВт) + акумуляторна батарея 197 кВт·год LFP CATL 280Ah All-in-One Gen2 | Inverter Kstar KAC50DP2 100 kW 3-phase (2×50 kW) + battery 197 kW year LFP CATL 280Ah All-in-One Gen2 | Инвертор Kstar KAC50DP2 100 кВт 3-фазний (2×50кВт) + аккумуляторная батарея 197 кВт·год LFP CATL 280Ач All-in-One Ген2 | 53386.78 | EUR | Да | Да | https://energyua.com.ua/content/images/13/1000x1000l80mc0/33439185179273.webp; https://energyua.com.ua/content/images/13/1096x1480l80mc0/83298474234286.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/63195351056209.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/78634813373898.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/44273354856383.webp | KStar
SOL-KSTAR-125-215 | Інвертор Kstar KAC125DH 125 кВт 3-фазний + акумуляторна батарея 215 кВт·год LFP CATL 280Ah All-in-One | Инвертор Kstar KAC125DH 125 кВт 3-фазный + аккумуляторная батарея 215 кВт·год LFP CATL 280 Ач All-in-One | Inverter Kstar KAC125DH 125 kW 3-phase + battery 215 kW year LFP CATL 280Ah All-in-One | Інвертор Kstar KAC125DH 125 кВт 3-фазний + акумуляторна батарея 215 кВт·год LFP CATL 280Ah All-in-One | Inverter Kstar KAC125DH 125 kW 3-phase + battery 215 kW year LFP CATL 280Ah All-in-One | Инвертор Kstar KAC125DH 125 кВт 3-фазный + аккумуляторная батарея 215 кВт·год LFP CATL 280 Ач All-in-One | 57670.85 | EUR | Да | Да | https://energyua.com.ua/content/images/13/1000x1000l80mc0/33439185179273.webp; https://energyua.com.ua/content/images/13/1096x1480l80mc0/83298474234286.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/63195351056209.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/78634813373898.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/44273354856383.webp; https://www.a-profi.com.ua/wp-content/uploads/2025/12/photo_2025-12-04_18-20-06.webp | KStar
SOL-KSTAR-125-215GEN2 | Інвертор Kstar KAC125DP2 125 кВт 3-фазний + акумуляторна батарея 215 кВт·год LFP CATL 280Ah All-in-One Gen2 | Инвертор Kstar KAC125DP2 125 кВт 3-фазный + аккумуляторная батарея 215 кВт·год LFP CATL 280 Ач All-in-One Gen2 | Inverter Kstar KAC125DP2 125 kW 3-phase + battery 215 kW year LFP CATL 280Ah All-in-One Gen2 | Інвертор Kstar KAC125DP2 125 кВт 3-фазний + акумуляторна батарея 215 кВт·год LFP CATL 280Ah All-in-One Gen2 | Inverter Kstar KAC125DP2 125 kW 3-phase + battery 215 kW year LFP CATL 280Ah All-in-One Gen2 | Инвертор Kstar KAC125DP2 125 кВт 3-фазный + аккумуляторная батарея 215 кВт·год LFP CATL 280 Ач All-in-One Gen2 | 58467.74 | EUR | Да | Да | https://energyua.com.ua/content/images/13/1000x1000l80mc0/33439185179273.webp; https://energyua.com.ua/content/images/13/1096x1480l80mc0/83298474234286.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/63195351056209.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/78634813373898.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/44273354856383.webp | KStar
SOL-KSTAR-125-233 | Інвертор Kstar KAC125DH 125 кВт 3-фазний + акумуляторна батарея 233 кВт·год LFP CATL 280Ah All-in-One | Инвертор Kstar KAC125DH 125 кВт 3-фазный + аккумуляторная батарея 233 кВт·год LFP CATL 280 Ач All-in-One | Inverter Kstar KAC125DH 125 kW 3-phase + battery 233 kW year LFP CATL 280Ah All-in-One | Інвертор Kstar KAC125DH 125 кВт 3-фазний + акумуляторна батарея 233 кВт·год LFP CATL 280Ah All-in-One | Inverter Kstar KAC125DH 125 kW 3-phase + battery 233 kW year LFP CATL 280Ah All-in-One | Инвертор Kstar KAC125DH 125 кВт 3-фазный + аккумуляторная батарея 233 кВт·год LFP CATL 280 Ач All-in-One | 61017.79 | EUR | Да | Да | https://energyua.com.ua/content/images/13/1000x1000l80mc0/33439185179273.webp; https://energyua.com.ua/content/images/13/1096x1480l80mc0/83298474234286.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/63195351056209.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/78634813373898.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/44273354856383.webp | KStar
SOL-KSTAR-125-233GEN2 | Інвертор Kstar KAC125DP2 125 кВт 3-фазний + акумуляторна батарея 233 кВт·год LFP CATL 280Ah All-in-One Gen2 | Инвертор Kstar KAC125DP2 125 кВт 3-фазный + аккумуляторная батарея 233 кВт·год LFP CATL 280 Ач All-in-One Ген2 | Inverter Kstar KAC125DP2 125 kW 3-phase + battery 233 kW year LFP CATL 280Ah All-in-One Gen2 | Інвертор Kstar KAC125DP2 125 кВт 3-фазний + акумуляторна батарея 233 кВт·год LFP CATL 280Ah All-in-One Gen2 | Inverter Kstar KAC125DP2 125 kW 3-phase + battery 233 kW year LFP CATL 280Ah All-in-One Gen2 | Инвертор Kstar KAC125DP2 125 кВт 3-фазный + аккумуляторная батарея 233 кВт·год LFP CATL 280 Ач All-in-One Ген2 | 61814.68 | EUR | Да | Да | https://energyua.com.ua/content/images/13/1000x1000l80mc0/33439185179273.webp; https://energyua.com.ua/content/images/13/1096x1480l80mc0/83298474234286.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/63195351056209.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/78634813373898.webp; https://energyua.com.ua/content/images/13/1600x1600l80mc0/44273354856383.webp; https://www.a-profi.com.ua/wp-content/uploads/2025/12/photo_2025-12-04_18-20-06.webp | KStar
1026G1438 | Комунікаційний блок EMS Kstar для паралельного підключення інверторів (1026G1438) | Коммуникационный блок EMS Kstar для паралельного подключения инверторов (1026G1438) | Communication unit EMS Kstar for parallel connection of inverters (1026G1438) | Комунікаційний блок EMS Kstar для паралельного підключення інверторів (1026G1438) | Communication unit EMS Kstar for parallel connection of inverters (1026G1438) | Коммуникационный блок EMS Kstar для паралельного подключения инверторов (1026G1438) | 1514.09 | EUR | Да | Да |  | KStar
SOL-KSTAR-SMRMET | Трифазний розумний лічильник Kstar Smart Meter 90–1000В для систем зберігання енергії (4402-9362) | Трехфазный розеточный генератор Kstar Smart Meter 90–1000В для систем энергосбережения (4402-9362) | Three-phase smart meter Kstar Smart Meter 90–1000V for energy saving systems (4402-9362) | Трифазний розумний лічильник Kstar Smart Meter 90–1000В для систем зберігання енергії (4402-9362) | Three-phase smart meter Kstar Smart Meter 90–1000V for energy saving systems (4402-9362) | Трехфазный розеточный генератор Kstar Smart Meter 90–1000В для систем энергосбережения (4402-9362) | 239.07 | EUR | Да | Да |  | KStar